UU BUILDINGS & GROUNDS COMMITTEE MEETING MINUTES

APRIL 22, 2018

PRESENT: Roger Kalter, Kim Michael, Gwen Noe, Jann Adams, Gary Hamilton

STAINED GLASS WINDOW FINAL PHASE: As of April 20, no further donations have been have been made to this project since the mailing. Jann will write a reminder note that will appear in the Confluence.

SPRING CLEAN UP SCHEDULE: Saturday, May 12 between 9-11

It is encouraged that B&G members do some work before that date to clean up before the yard sale. Roger is sending an email about work that needs completed.

SEWER LINE:  Blockage – Rotor Router cut out many roots. RR suggested a new line to replace the 100 year-old pipe. We will consider the possibility to insert a smaller pipe in the existing pipe. It is not completely known where the pipe empties. If the pipe is on the Putnam Street side, the sandstone wall could be done at the same time.

RE WINDOWS PROJECT: Estimate from John Barnes: $1500 – $2000.   Two storms need replaced, check for seals on storms, paint and seal, glazing, etc. BG wants windows restored to workable and efficient shape as possible. Gary stated that we should make sure he has bonding, insurance, and worker compensation.

ENERGY EFFICIENCY: Thoughts from Kim. Most of the time the RE building is not occupied and each room is kept at 62 degrees at all times. Rooms that are rarely used do not need to be kept at 62. He suggested new programmable thermostats to meet the needs and save money in unnecessary heating. Kim compiled a usage sheet and chart to show how we can save energy and therefore money. He estimated that we could save 48% with keeping thermostats lower, doors closed, monitoring usage, maintenance, and fix leakage from windows. He suggested we look at the whole picture that also includes the church building.

BG recommends to Green Sanctuary that seven-day programmable thermostats (2-3) be purchased as well as signage for doors (Please close door for fire safety and energy efficiency.).

The attic needs more insulation in areas. Opening to the attic is a piece of wood. It is recommended to build a “box” that is insulated. Water heater is a 70-gallon at 135 degrees. It has been turned down.

Storage Committee: The group goes room to room to assess our “inventory” of stuff. If it does not belong here or is not used, then it will be disposed of. Some can be sold at yard sale. There is a need to have a person decide if donations are acceptable. They meet on Tuesday at 11:00 and would like a BG person to attend.